[image: image1.wmf]

Certificate of Conformance

Product: Argon Type I (gaseous)

Grade: 4.8 (Prepurified)
The Argon cylinder(s) filled and distributed by Haun meet the requirements for Argon grade 4.8 (gaseous) and are guaranteed to meet the following specifications based on our standard operating procedures.

	Component
	Specification

	Argon
	≥ 99.998%

	Oxygen
	≤ 2.0 PPM

	Total Hydrocarbons
	≤ 2.0 PPM

	Moisture
	≤ 3.0 PPM


The information above represents the specifications of Haun Specialty Gases, Inc. for this specific product. The actual individual cylinder content may vary and can only be verified by an actual cylinder analysis.

Haun Specialty Gases: 5921 Court Street Rd., Syracuse, NY 13206 • P (315) 463-5241 • F (315) 463-0884 • www.TheHaunEdge.com


